FUNCTIONAL TEST–AHU #____

University of Michigan Plant Extension

##### Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

5) _________________________________________ 6)____________________________________

Is system operating or is this initial start-up? _________________________________________________

Is the Pre-Start Checklist Complete? _______________________________________________________

# Fan

_______ Is there any drag when fan is hand rotated?

_______ Fan has correct rotation

_______ Drive belt tension correct

_______ Is there any unusual vibration? (Check throughout fan range if variable speed)

_______ Is there any unusual noise?

_______ Is there any casing leakage?

Measured amp draw (L1/L2/L3):  ______ / _______ / ________

Coil

______ Coil drains properly: ______________________________________________

______Flow meters installed with proper upstream/downstream distance: __________________________

Controls

______HOA switches and lights work: _____________________________________________________

______Alarms activate : __________________________________________________________

______Fans will start/stop/change speed via DDC_____________________________________________

______Thermostat controls fan/ cooling valve_____________________________________________

Notes:	_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Signed: 						 	Date: