Commissioning Sequence Progress Check Sheet

System: Air Handling Systems

Overview: AHU-5 serves the south-east portions of Floor Levels 3 through 7. This new unit is rated for 55,000 cfm and replaces existing unit S-5, and includes new Supply Fan S-5; Variable Speed Drive VSD-S-5; existing Return Air Fan E-5 with new Variable Speed Drive VSD-E-5; in-duct steam humidifier H-5; heating coils; cooling coils; filters; ductwork; and controls.

AHU-21 serves the south and central areas of Floor Level 2. This new unit is rated for 20,000 cfm and replaces the Furstenburg AC-1 unit and includes new supply fan S-21; Variable Speed Drive VSD-S-21; new return air fan E-21 with Variable Speed Drive VSD-E-21; in-duct steam humidifier H-21; heating coils; cooling coils; filters; ductwork; and controls.