Commissioning Sequence Progress Check Sheet

System: AHU-10

Substation #2 Air Handler

10,000 CFM vertical cabinet style air handler with “through the wall” return, serving the penthouse substation room.  Recirculating unit, no outside air connection.  Constant volume.  DDC Controls.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved: AHU

_____	Major Components Delivered  AHU

_____		    _____		Pre-Installation Check Sheets Complete AHU

_____		    _____		Installation Manuals Submitted AHU

_____		Start-up/Installation Materials Delivered Filters

_____		Mechanical Complete

_____		Electrical Complete

_____ AHU Fan(s) 	_____ control panel

_____		Controls Complete (subcontractor)

_____		Controls Complete (UM DDC)

_____		    _____		Pre-start-up checks complete, AHU

_____		    _____		Start-up/Functional Testing

_____		    _____		Controls Commissioning Complete

_____		    _____		Training Plan (Draft)

_____		All Punch-list Items Completed

_____		    _____		Training Session Complete

_____		    _____		Contract Commissioning Requirements Completed