Commissioning Sequence Progress Check Sheet

System: AHU-15

Floor 3 Server Room Air Handler

2,750 CFM vertical cabinet style air handler , serving the building’s main server room.  Constant volume.  Pneumatic Controls.  Located inside the server room (rm. 3214).

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved: AHU

_____	Major Components Delivered  AHU

_____		    _____		Pre-Installation Check Sheets Complete AHU

_____		    _____		Installation Manuals Submitted AHU

_____		Start-up/Installation Materials Delivered Filters

_____		Mechanical Complete

_____		Electrical Complete

_____ AHU Fan(s)

_____		Controls Complete (subcontractor)

_____		    _____		Pre-start-up checks complete, AHU

_____		    _____		Start-up/Functional Testing

_____		    _____		Controls Commissioning Complete

_____		    _____		Training Plan (Draft)

_____		All Punch-list Items Completed

_____		    _____		Training Session Complete

_____		    _____		Contract Commissioning Requirements Completed