Commissioning Sequence Progress Check Sheet

System: AHU-8

Office Air Handler

Custom 25,000 CFM air handler serving offices on the east end of LSI.  VAV w/return fan (RF-8).  Ducted return.  VSDs on both supply and return fans.  DDC VAV boxes.  Smoke dampers at discharge and on common return duct.  Distribution duct DOES NOT interconnect w/AHU-7.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved: VSDs, Coil Pumps, BDD, Smoke

Dampers, Sound Atten.s, Return Fan

_____		    _____		Factory Test Reports Submitted (AHU)

_____	Major Components Delivered  AHU,Return Fan, VSDs, Coil Pumps, BDD, Smoke Dampers, Sound Atten.s

_____		    _____		Pre-Installation Check Sheets Complete (AHU, Return Fan, both

VSDs)

_____		    _____		Installation Manuals Submitted (AHU, VSDs, Return Fan)

_____		Start-up/Installation Materials Delivered (filters)

_____		Mechanical Complete

_____		Electrical Complete

_____ AHU Fan(s) 	_____ control panel

_____		Controls Complete (subcontractor)

_____		Controls Complete (UM DDC)

_____		    _____		Pre-start-up checks complete, AHU

_____		    _____		Pre-start-up checks complete, VSDs

_____		    _____		VSD Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		AHU Mfg. Check-Test-Start

_____		    _____		Mfg. Check-Test-Start Report

_____		    _____		Start-up/Functional Testing

_____		    _____		Controls Commissioning Complete

_____		    _____		Balancing Complete.. DP setpoint established

_____		    _____		Training Plan (Draft)

_____		All Punch-list Items Completed

_____		    _____		Training Session Complete

_____		    _____		Contract Commissioning Requirements Completed