Commissioning Sequence Progress Check Sheet

System: Air and Water Balance

Overview: Complete air and water balancing is required on this project. Includes coordination for attendance of Cx agent and UM Plant personnel during balancing activities.

Acknowledgments

Owner		Contractor

_____		Balance contractor has reviewed project

_____		_____   	Pre-balance conference held; balance plan established

(Attendees: Mech. Contractor, General Contractor, UM

Cx agent, UM Const. Mgmt. Field Rep., T&B Contractor)

_____          _____       	Balancer has completed field investigation and

prepared deficiency list broken down by system

and prepared system for balancing (see spec.)

_____		 _____		Field deficiencies corrected

_____		 _____		HHW system balanced

_____          _____        	Primary CHW system balanced

_____          _____        	Secondary CHW system balanced

_____		 _____		Air handling systems balanced

_____		 _____		Exhaust air systems balanced

_____          _____         Preliminary test & balance report submitted

_____          _____         Final test & balance report approved

_____         All punch list items completed

_____          _____         Contract Cx requirements completed