Commissioning Sequence Progress Check Sheet

System: LSI Animal Drinking Water Systems

Overview: Covers controller, pressure reducing station, chlori-flush station, chlorine injection station, Recoil hose flush station, and the room distribution system.

Spec Section: 15225

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____       	Shop Drawings Approved

_____   	Major Components Delivered

_____          _____       	Installation Instructions Provided

_____		Pre-Installation Check List Complete

_____		Installations Complete

_____		 _____		Pre-start Check List Complete

_____		PressureTesting Complete, Submitted (UM Inspector)

_____          _____         Flushing/Cleaning/Disinfection Plan Submitted/approved

_____          _____         Flushing Complete  _____Initial Flush

_____ Cleaning

_____ Rinse

_____          _____        Disinfection Completed, Report Submitted to Owner

_____	     	 _____		Start – up Notification Submitted

_____		 _____		Functional Test Check Sheets Completed

_____         All Punch-list Items Completed

_____          _____       	Training Scheduled

_____		 _____		Training Completed

_____		 _____		Contract Commissioning Requirements Completed