Commissioning Sequence Progress Check Sheet

System: LSI Biological Safety Cabinet

Overview: Includes Biological Safety Cabinet, BSC-1.

Spec Section: 11600

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____          	_____      	Class II certificate provided (11600, 2.6.C.8)

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed