Commissioning Sequence Progress Check Sheet

System: LSI Bulk Sterilizer

Overview: Includes Bulk Sterilizer BS-1 on level 1. This is a steam sterilizer 49” x 84” x 84” in size designed to process animal caging systems.

Spec Section: 11609

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____          	_____      	Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____          	_____     	Training Plan (Draft) submitted and approved

_____          	_____       	Training Scheduled

_____          	_____       	Training Completed

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed