Commissioning Sequence Progress Check Sheet

System: Chilled Water Sytems

Overview: Revision to existing Buhl CHW System to allow for year-round (winter)  tertiary systems' usage and emergency summer usage of Buhl chiller and Med Sci II secondary systems' year-round usage of summer system. Includes trimming of existing impeller in Buhl Primary CHW Pumps PP-1 & PP-2; re-motoring of existing cooling tower CT-1 and addition of VSD (VSD-BUHL-CT-1); addition of new year-round CHW pumps TP-3 & TP-4 and attendant VSD's (VSD-YR-TP-3 & VSD-YR-TP-4; addition of new VHW freeze protection pumps CHW-CP-7 for AHU S-7 and CHW-CP-22 for AHU S-22.

Specification Section: 15515

Acknowledgements

Owner		Contractor

_____		    _____		Shop Drawings Submitted: (Listed Equipt.)

_____          _____       Shop Drawings Approved

_____          _____       Major Components Delivered

_____          _____       O&M Manual (Draft) Submitted and Approved

_____          _____       Mechanical Complete

_____		    _____		Pressure Testing Complete

_____          _____       Electrical Complete

_____		    _____		Flushing/Cleaning Plan Submitted/Approved

_____          _____        Flushing Complete

_____          _____        DP Setpoint reset / verified

_____          _____        O&M Manual (Final) Submitted

_____          _____        All Punch-list Items Completed

_____          _____        Training Scheduled and Completed

_____		    _____		As-Built Drawings Submitted/Approved

Chilled Water System

_____		    _____		System Accepted by Owner