CHECK-TEST-START-UP/FUNCTIONAL TEST

University of Michigan

Facilities Evaluation and Commissioning Dept.

Phone (734) 615-7168  Fax (734) 936-3334

Project Name:________________________________________________________________________

Project Number: ______________________________________________________________________

Start-up Date:_________________________

Name/Organization:

1) _________________________________________     2)____________________________________

3) _________________________________________     4)____________________________________

5) _________________________________________     6)____________________________________

7) _________________________________________     8)____________________________________

Note- unless otherwise specified by the fan mfg. , belts are considered correctly adjusted if center deflection at midpoint = 1/64" per inch of belt span.  Belt span = center to center pulley distance.  Example: 15" between pulley centers, correct deflection 15/64" or approx. ¼" with moderate pressure applied at midpoint between pulleys

Cabinet Unit Heaters

Notice: This is not a punch list.  Check-off indicates system is in general compliance and is ready for functional testing.  Punch listing is performed by the engineer of record, not the commissioning team.

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Fan System________________________Fan type/model #: ___________________________________

System Description: ___________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

Is system operating or is this initial start-up?_________________________________________________

_______  Shipping tie-down bolts/shims removed at fan base  _______  Belt Guards  ______  Inlet Screens

_______  Fan base isolators free to float _______  Flex connections  _______  Bearing feet tightened down

_______  Fasteners tightened  _______  Inlet cone to fan gap adjusted  _______  No trash in scroll

_______  Belt adjustment_______  Roof curb  _______ Nameplate condition OK  _______ Cleaned up?

Has fan been aligned after installation?  _______  By whom? ____________________________________

Alignment:  _______ Fan shaft parallel to motor shaft  _______  Belts @ right angle to shafts

_______  Rotate fan, roughly verify fan alignment and inlet bell to radial wheel alignment

Start-Up

________ Rotation  _______  Backdraft damper opens  _________No vibration  _______  Belt Alignment

________ Control damper function  _______  Backdrafts close when fan off

Comments:  ___________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

_____________________________________________________________________________________

List of other issues ___________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________

___________________________________________________________________________________