Commissioning Sequence Progress Check Sheet

System: Cold Rooms

Overview: Cold Rooms maintain a temperature of 40ºF, humidity control, and have ventilation and exhaust connections.  The system has electric heating coils, refrigeration cooling system, electric vaporizer for humidification, and a desiccant dehumidifier. The refrigeration system has a defrost control and the condensing unit is water cooled. There are approximately 15 cold rooms with room numbers 2297C, 2459, 3378A, 4130, 4323, 4347, 4371, 5130, 5323, 5166, 5371, 6130, 6323, 6166, and 6371.

Spec Section:  13034

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____      	Controls Complete (subcontractor)

_____      	Controls Complete (UM DDC)

_____          	_____      	Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____          	_____     	Training Plan (Draft) submitted and approved

_____          	_____       	Training Scheduled

_____          	_____       	Training Completed

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed