FUNCTIONAL TEST –  Compressed Air Systems

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

Air Dryer

___ Automatic Purge Saving System provided

___ Unit Labeled with Tag Name

___ Voltage selection switch set/ verified

___ Pressure selection dip switch set/ verified

___ Mode / Cycle selection dip switches set/ verified (10 minute cycle)

___ Purge rate valve adjusted

___ Prefilter with automatic demand drain valve installed

___ Afterfilter installed

___ Automatic drain valves piped to floor drain _______________________________________________

___ Shutoff valves installed _______________________________________________________________

___ Manual by-pass installed ______________________________________________________________

System

___ Pressure Regulating Valve reduces Pressure to

Floor 1________

Floor 3 ________

Floor 4 ________

Floor 5 ________

Floor 6 ________

___ Safety Relief Valve Installed

Remarks:______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

__________________________________________________________________________________

Completed By: ______________________  Company:____________________Date:______________