Commissioning Sequence Progress Check Sheet

System: Buhl Cooling Tower Retrofit

Overview: The existing cooling tower (Buhl Chiller Cooling Tower CT-1) is to be refurbished and "winterized" for year-round operation. Work includes remotoring of cooling tower drive with new invertor-duty rated motor; new VSD (VSD-Buhl-CT-1); new basin heaters; and float control.

Specification Section: 15711

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted: (Listed equipt.)

_____		    _____		Shop Drawings Approved

_____          _____        Major Components Delivered

_____          _____        O&M Manual (Draft) submitted and approved

_____		    _____		 Mechanical Complete

_____          _____        Electrical Complete

_____          _____        Controls Complete (Subcontractor)

_____          _____        Controls Complete (UM DDC)

_____          _____        VSD Mfgr. Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____          _____        Pre-Start checks complete

_____          _____        Check-Test-Start-Up / Functional Test Completed

(Mfgr's Rep., UM Cx agent, UM DDC Tech, job foreman)

_____          _____        Controls Commissioning Complete

_____		    _____		O & M Manual (Final) Submitted

_____		    _____		All Punch-list Items Completed

_____          _____        As-Built Dwgs submitted/approved Cooling Tower CT-1

_____		    _____		System Accepted by Owner