Commissioning Sequence Progress Check Sheet

System: Electrical Power and Grounding System

Overview: Electrical power distribution including revisions to Med Sci II Substation No. 2 (208 V); Med Sci II / Buhl Substation No. 3 (480V); Special Power revisions at Med Sci II / Buhl Substation No. 3; power and distribution panelboards; lighting and receptacle panels; circuit breakers; grounding conductors; motor control centers (MCC's); motor starters; disconnect switches; and motor control devices.

Specification Section:  16400; 16450; 16480

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted: (Listed Equipt.)

_____		    _____		Shop Drawings Approved

_____          _____        Installation Sequence Submitted and Approved

(Order and Timing for Transition Between Existing

and New Power Distribution, with Approximate Dates

of Activation of Major Components)

_____          _____        Major Components Delivered

_____          _____        O&M Manual (Draft) submitted and approved

_____          _____        Pre-installation Checklist Completed and Submitted

_____		    _____		Installations Complete

_____		    _____		Pre-Start Checklist Completed and Submitted

_____		    _____		Check-Test-Start-Up / Functional Testing Completed;

Report Submitted and Approved (cable megger;

Grounding)

_____		    _____		O & M Manual (Final) Submitted

_____          _____        Training Scheduled and Completed

_____		    _____		All Punch-list Items Completed

_____		    _____		System Accepted by Owner