Commissioning Sequence Progress Check Sheet

## Equipment Labeling

Overview: All equipment, ductwork, piping, and valves shall be labeled per spec section 15010 and 15075.

Acknowledgments

Owner		Contractor

_____	Contractor has reviewed project labeling, valve tagging, and painting requirements (Section 15010 and 15075).

_____         Nameplates provided per 15010, 3.1.L.

_____         Pipe labeling complete

_____         Valve tagging complete

_____         Ductwork labeling complete

_____         Equipment labeling complete

_____         Ceiling markers complete

_____          _____         Valve tag charts and schedule approved.

_____          _____         Piping system diagram approved (15010, 3.1.L)

_____          _____         Fan duct system diagram approved (15010, 3.1.L)

_____          _____         Automatic temperature system diagram approved (15010, 3.1.L)

_____         All punch list items completed

_____          _____         Contract Cx requirements completed