Commissioning Sequence Progress Check Sheet

System: Exhaust Air Systems

Overview: E-8 is rated for 14, 770 cfm; is located in the Penthouse; and serves the Gross Anatomy ULAM.

E-19 is rated for 2000 cfm; and serves Mech. Room 2704, where it is located.

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted

_____		    _____		Shop Drawings Approved

_____          _____        O&M Manual (Draft) submitted and approved

_____		    _____		Installation Complete

_____		    _____		Pre-test checks complete

_____		    _____		Check-Test-Start-Up / Functional Testing Completed

_____		    _____		O & M Manual (Final) Submitted

_____          _____        Training Scheduled and Completed

_____		    _____		All Punch-list Items Completed

_____		    _____		System Accepted by Owner