Commissioning Sequence Progress Check Sheet

System: Fan Coils

Overview: Includes three fan coil units on the second level.  FC-A is located in electrical Room 2225E. FC-B is located in the TelCom Room 2221C. FC-B is located in the Building Dist Frame Room 2201C.  These units are controlled by a room thermostat that modulates the cooling coil valve and cycles the fan.

Specification Section: 15763

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgements

Owner		Contractor

_____		Shop Drawings Approved

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____       	Pre-Installation Check Sheets Completed

_____	     	Mechanical Complete

_____       	Electrical Complete

_____      	Controls Complete (subcontractor)

_____      	Controls Complete (UM DDC)

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted

_____          	_____      	Functional Testing check sheet complete

_____          	_____     	Training Plan (Draft) submitted and approved

_____          	_____       	Training Scheduled

_____          	_____       	Training Completed

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed