FUNCTIONAL TEST –  Fire Suppression System

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Tag No.			Model No.			Serial No.

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

5) _________________________________________ 6)____________________________________

7) _________________________________________ 8)____________________________________

Check     Item	Comments

General

___ FM Approves installation.

___ Electrical Inspector Approves installation.

___ Fire Alarm Shop Approves Installation

Fire Pump

___ Bump motor, check and correct rotation.

___ Pump base is anchored and grouted.

___ No unusual pump noise.

Piping and Accessories: Inspect the following:

___ No piping movement

___ Check for vents at all high points, & drains at low points

Remarks

## Completed by (print): _______________________Company: __________________________

Signed: _______________________________________ Date: _________________________________