Commissioning Sequence Progress Check Sheet

System: GEN-7B

Emergency Generator

1000kW, natural gas, 480Y/277V, emergency generator located on the 7th level of the building and supplying back-up power to substations 7A & 7B emergency systems.

Specification Section: 16231

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgements

Owner		Contractor

_____	Shop Drawings Approved

_____  	Major Components Delivered

_____            	_____  	Installation Manuals submitted

_____  	Pre-Installation Check Sheets Completed

_____	Mechanical Complete

_____  	Electrical Complete

_____           	_____  	Pre-Start-Up Checks Complete

_____           	_____  	Manufacturer Check-Test-Start

_____ Mfgr. Check-Test-Start Report

_____			_____	Start-up Notification Submitted

_____           	_____ 	Functional Testing Check Sheet Completed

_____           	_____  	Training Plan (Draft) submitted and approved

_____ 	 All Punch-List Items Completed

_____           	_____  	Training Scheduled

_____           	_____  	Training Completed

_____		     	_____	Contract Commissioning Requirements Completed