Commissioning Sequence Progress Check Sheet

System: Lab Vacuum System

Overview: Central vacuum producing equipment.

Spec Section: 15218

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

_____		Shop Drawings approved for pumps, control tank, and control panel

_____       	Major Components Delivered

_____          	_____       	Installation Manuals submitted

_____          	_____       	Certified test data submitted prior to shipment by factory.

_____       	Pre-Installation Check Sheets Completed

_____	     	Plumbing Complete

_____	     	Mechanical Complete

_____       	Electrical Complete

_____          	_____      	Pre-Start check sheet complete

_____		   	_____		Start – up Notification Submitted- Dave Gilbertson (734) 647-2038

_____          	_____      	Functional Testing check sheet complete

_____          	_____      	Training plan (Draft) submitted and approved

(One four-hour class with detailed handouts)

_____          	_____      	Training scheduled

_____          	_____      	Training complete

_____      	All Punch-List Items Completed

_____		    	_____		Contract Commissioning Requirements Completed