Commissioning Sequence Progress Check Sheet

System: Lighting Systems

Note: Battery-backed lighting shall be commissioned by the Contractor without UM Cx agent present. Contractor shall provide documentation of testing. Documentation shall indicate fixture location on a room-by-room basis and the results of test.

Specification Section:  16511

Acknowledgments

Owner		Contractor

_____		    _____		Shop Drawings Submitted

_____		    _____		Shop Drawings Approved

_____          _____        O&M Manual (Draft) submitted and approved

_____		    _____		Installation Complete

_____          _____        Electrical Inspection by UM Inspector

_____          _____        Battery Back-Up Test Plan submitted and approved

_____          _____        Battery Back-Up Check-Test, Exit Signs

_____          _____        Battery Back-Up Check-Test, Building/P.H. Lighting

_____		    _____		O & M Manual (Final) Submitted

_____		    _____		As-Built Drawings submitted/approved

_____          _____        All Punch-List Items Completed

_____		    _____		System Accepted by Owner