Commissioning Sequence Progress Check Sheet

System: Sanitary Drainage System

System Overview: There are two sanitary systems in LSI; an acid waste system and a sanitary system.

For level 2 and above: The two systems drain by gravity and once the acid waste passes through a neutralization tank on level 2, the systems combine and exit the building through an eight inch sanitary line to the east, connecting the site gravity sanitary system.

For level 1: The two systems drain by gravity and exit the building through a six inch sanitary and a four inch acid waste to the east. The acid waste goes to the Parking Deck neutralization tank and the sanitary goes to the Parking Deck sanitary sump. The acid waste leaves the neutralization tank and discharges to the Parking Deck sanitary sump, combining with the sanitary.  The Parking Deck sump pumps discharge the sanitary to the site sanitary system.

Refer to the Parking Deck Sequence Progress Check Sheets for commissioning of the Parking Deck sump pumps and the Parking Deck neutralization tank.

Cx Sequence:

Initial acknowledgment and date when item is complete.

Acknowledgments

Owner		Contractor

Shop Drawings Approved

_____ 		Acid Neutralization Basin

_____	Major Components Delivered

_____ 		_____ 	Installation Manuals Submitted

_____ 	Installation Complete

Note that limestone is NOT to be installed in neutralization basins.

_____ 	All Punch-list items completed.

_____ 		_____	Contract Commissioning Requirements Completed