FUNCTIONAL TEST – VARIABLE FREQUENCY DRIVES

University of Michigan Plant Extension

Commissioning and Plan Review Department

Phone (734) 615-7168 Fax (734) 936-3334

This is not a punch list.  The engineer of record, not the commissioning team, performs Punch listing.

Project Name: XXX					Project Number: XXXX-XX-XXX

Tag No.			Model No.			Serial No.

Attendees:

1) _________________________________________ 2)____________________________________

3) _________________________________________ 4)____________________________________

5) _________________________________________ 6)____________________________________

7) _________________________________________ 8)____________________________________

9) _________________________________________ 10)___________________________________

Check     Item							Comments

___Is system operating or is this initial start-up? _______________________________________________

___Is the Pre-Start Checklist Complete? _____________________________________________________

___Rotation Correct ____________________________________________________________________

___VFD H-O-A test_____________________________________________________________________

___VFD bypass switch test _______________________________________________________________

___VFD Start-Stop by DDC ______________________________________________________________

___VFD Status to DDC __________________________________________________________________

___VFD input signal (AO) test ____________________________________________________________

___VFD output (AI)_____________________________________________________________________

___Early break contacts __________________________________________________________________

___No vibration throughout speed range ____________________________________________________

___UM plant approves drive installation _____________________________________________________

___VFD mfg. start-up and test report obtained ________________________________________________

Maximum amp draw (A/B/C): _____ / _____ / _____

Measured amp draw (A/B/C): _____ / _____ / _____

Design voltage (AB/BC/AC): _____ / _____ / ____

Measured voltage (AB/BC/AC): _____ / _____ / _____

Remarks:

Witnessed By:						Date:

U of M Commissioner